## BOM
Item | Qty | Designator | Description | Mfg | Mfg# | Newark# | Price | Extended | Datasheet
1 | 1 |  | Enclosure, 8.75" Rack Mount | Buckeye Stamping | SM-8720-TBSH |  | 300 | 300 | Datasheet
2 | 1 |  | Internal/ Backpanel | Buckeye Stamping | 6S212804 LAAA |  | 22 | 22 | Datasheet
3 | 1 | RFI1 | RFI Filter, 3-Ph,32A |  |  |  |  | 0
4 | 1 | SW1 | Switch, 3 Pole, 100Amp Disconnect | ABB | E273/100 |  | 107.1 | 107.1
5 | 1 | SW1-UV | Undervoltage Release | ABB | SA-UA 24 |  | 75.6 | 75.6
6 | 1 | SW1-CT | Contacts, Early Make | ABB | S2-NT |  | 9.45 | 9.45
7 | 1 | SW1-LO | Lockout/Tagout | ABB | SA1 |  | 3.15 | 3.15
8 | 1 | CB1 | Cir Breaker, 1Ph 4Amps | ABB | S272-K4 |  | 42 | 42
9 | 0 | ? | Cir Breaker, 3Ph 63Amps | ABB | S273-K63 |  | 114 | 0
10 | 3 | CB5,6,7 | Cir Breaker, 1Ph 10Amps | ABB | S271-K10 |  | 14.7 | 44.1
11 | 1 | CB3 | Circuit Breaker, 3-Ph, 50Amps | ABB | S273-K50 |  | 70 | 70
12 | 1 | CB4 | Circuit Breaker, 3-Ph, 40Amps | ABB | S273-K40 |  | 60.9 | 60.9
13 | 2 | BB1-EC | Bussbar Cap, 3 -Phase | ICC/ABB? | SZ-END2 |  | 10 | 20
14 | 1 | BB1 | Bussbar, 3 -Phase | ICC/ABB? | SZ-PSB12N |  | 88 | 88
15 | 1 | DIN1 | Dinrail | ICC/ABB? | EHMR-40 |  | 14.7 | 14.7
16 |  |  | ? |  | SZ-PSB24 |  | 1 | 0
17 | 1 | T1 | transformer, 24VAC | Signal | CL2-25-24 |  | 21.3 | 21.3
18 | 1 | T2 | AutoTransformer, | Signal | 130-OF |  | 38 | 38
19 |  |  | Relay, Solid State, 5Amp, 280V | Crydom | D2425 | 27F330 | 31.89 | 0
20 | 2 | SSR1,2 | Relay, Solid State, 25Amp, 280V | Crydom | A2425 | 27F315 | 34.2 | 68.4
21 | 2 | SSR-Cvr | Cover, SSR | Johnson Associates | ? |  | 1.5 | 3
22 |  | HS1 | Heat Sink, SSR | AAVID |  |  |  | 0
23 | 1 | T3 | Transformer, 3Ph, 6KVA Step-down | Shape |  |  | 410 | 410
24 | 1 | P1 | Plug, 3-Ph, 50A, 250V, 4-Wire | Hubbel? |  |  |  | 0
25 | 1 | J1 | Socket, Chassis, 5-Cir, 32A, 600V | Bulgin | PX0931/05/S | 95B6695 | 17.41 | 17.41
26 | 1 | J2 | Socket, Chassis, 4-Cir, 32A, 600V | Bulgin | PX0931/04/S | 95B6693 | 15.26 | 15.26
27 | 1 | J3 | Socket, IEC | Belden? |  |  |  | 0
28 | 1 | J4 | Socket, Chassis, 6-Cir,3A,250V | Bulgin | PX0738/S | 48F2460 | 10.6 | 10.6
29 | 1 | J6 | Socket, 9-Cir, D-Sub |  |  |  |  | 0
30 | [7 empty] | 0
31 |  |  | transformer, 24VAC | Signal | DP 241-4-24 |  |  | 0
[7 empty] | 1512.76 | 1440.97